## DMM Scan
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} |  |  |  | A Greater Measure of Confidence
{ED8FAA31-47AE-11d4-9DBA-00A0C9050977} | DMM Scan: Scan DMM channels
2
Task: Scan DMM Channels
Task | Name | DMM Scan
Description
| Created By | midlab
| Company | Intertek
| Date Created | 2012-03-06
| Date Modified | 2013-03-13
| Status/Cmds | Task stopped successfully
Configuration | Worksheet | DMM Config
Trigger | Model | Scan
| Source | Timer
| Delay | Auto | sec
| Reading Count | INF
| Timer | 300 | sec
| Monitor | None
| Monitor Limits | None
Data Location | Worksheet | Sheet1
| Starting Col | D
| Starting Row | 10
| Organize By | Rows
| Autoincrement | Use one table
| Auto Wrap | On
Log File
| Format | Delimited text (comma)
Data Display | Add Channel Tags | No
| Add Channels | Yes
| Add Units | No
| Scroll Display | No
| Limits | None
| Timestamp | None
| Update Interval | 100 | msec
Task Data
Note on B5: Enter a brief name for this task.
Note on B6: Enter any additional comments for this task.
Note on B9: Date that you first created this task.
Note on B10: Date that you last modified this task.
Note on B12: Select a Configure Scanning DMM Channels worksheet to use as the channel scan list for this task.
Note on B26: Enter name of data file where ExceLINX should save data. Blank disables data logging.
Note on B20: Select the worksheet where ExceLINX will store the task data.
Note on B21: Enter the starting column for the task data.
Note on B22: Enter the starting row for the task data.
Note on B23: Select whether to organize scans of task data by rows or columns.
Note on B24: Select if ExceLINX should overwrite, extend, or create more task data tables for new scans.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on A12: Select the channel scan list ExceLINX will use to configure the instrument for this task.
Note on A20: Select where and how ExceLINX will save data for this task.
Note on A36: Default location to store task data. Change the location using the "Data Location" form.
Note on B31: Select "Yes" if ExceLINX should automatically display cells with the most recent data.
Note on B1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task scans a list of instrument channels and saves the measurement values in a worksheet and log file.
Note on B13: Select type of scan trigger model.
Note on B14: Select type of trigger event.
Note on B15: Select auto or manual delay before acquiring next measurement.
Note on A13: Setup how ExceLINX will trigger and pace scans for this task.
Note on B16: Select number of triggers to acquire: samples for Step mode or scans for Scan mode.
Note on B17: Enter trigger interval timer if using Trigger Source = Timer.
Note on B27: Select log file data format.
Note on B7: Enter the name of the person who created this task.
Note on B33: Select timestamp format for measurements.
Note on B28: Select "Yes" if ExceLINX should label data with user-defined channel tags.
Note on A28: Select how ExceLINX should format data for this task.
Note on D15: Select the units of time for Delay value.
Note on D17: Select the units of time for Timer value.
Note on B32: Enter how ExceLINX should display results of limits testing.
Note on B18: Select channel to assign as a monitor channel for analog triggering.
Note on B8: Enter the name of the comany that created this task.
Note on B29: Select "Yes" if ExceLINX should label data with channel numbers.
Note on B30: Select "Yes" if ExceLINX should label data with measurement units.
Note on B19: Select limits to test on monitor channel to start a scan.
Note on B11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on B34: Select time interval for reading Task Data from instrument.
Note on D34: Select the units of time for Update Interval.
Note on B25: Select whether ExceLINX automatically overwrites a previously acquired data table with new data.

## DMM Config
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} | DMM Config: Configure DMM Channels | [14 empty] | A Greater Measure of Confidence
{ED8FAA30-47AE-11d4-9DBA-00A0C9050977}
4
Task: Configure Scanning DMM Channels
Task |  |  | Name |  | DMM Config
Description
|  |  | Created By |  | midlab
|  |  | Company |  | Intertek
|  |  | Date Created |  | 2012-03-06
|  |  | Date Modified |  | 2013-03-13
|  |  | Status/Cmds |  | Task stopped successfully
Instrument |  |  | Device |  | MODEL_2750_at_GPIBO_16
|  |  | Model |  | M2750
Password
|  |  | Slot 1 Module |  | M7708*
|  |  | Slot 2 Module |  | M7708*
|  |  | Slot 3 Module |  | M7708*
|  |  | Slot 4 Module |  | Empty*
|  |  | Slot 5 Module |  | Empty*
|  |  | Front Panel Lockout |  | On
Setup |  |  | Line Sync |  | Off
|  |  | Autozero |  | On
|  |  | Display Digits |  | 6½
|  |  | DCV Input Divider |  | Off
|  |  | Open TC Detection |  | Off
|  |  | Temp Scale |  | °F
Limits |  |  | Digital Outputs |  | Off
|  |  | Pulse Output |  | Off
|  |  | Polarity |  | High
|  |  | Duration |  | 0.02 |  |  |  |  | sec
|  |  | Master Latch |  | Off
Channel Scan List
Channel |  |  | Measurement |  | Scaling |  |  |  |  | Alarm Limits | [5 empty] | Rep Filter |  | Sampling |  | Options
Enb | List | Tag | Function | Range | Rel | Math | m/ref | b | U | En1 | Hi1 | Lo1 | En2 | Hi2 | Lo2 | Enb | Count | Rate | AC BW | Opt 1 | Opt 2 | Opt 3 | Opt 4
On | 101-114 |  | TEMP | K | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | INT
Off | 201-213 |  | TEMP | J | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | INT
Off | 301-340 |  | TEMP | J | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | INT
Note on A35: Enable or disable the channel(s) in this row by selecting "On" or "Off". Select value for this cell in a blank row to auto fill-in defaults for other cells in the row.
Note on D1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A33: Enter the configuration and scan sequence for channels the instrument will acquire.
Note on A4: This task configures channels on a scanning DMM and also serves as a channel scan list for a DMM Scan task.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on D5: Enter a brief name for this task.
Note on D6: Enter any additional comments for this task.
Note on D9: Date that you first created this task.
Note on D10: Date that you last modified this task.
Note on A12: Select the hardware instrument for this task.
Note on D12: Select an instrument device for this task.
Note on D7: Enter the name of the person who created this task.
Note on D15: Select the module installed in this slot.
Note on D19: Select the module installed in this slot.
Note on B35: Enter the channel(s) to configure as a single channel (101), consecutive range (101-109), or list of single channels and ranges (101-109,201,215). Use channel 1 for front panel inputs.
Note on D35: Select measurement function for channel(s).
Note on E35: Select input range, transducer type, or input mode for selected measurement function.
Note on F35: Enter a relative value to subtract from all measurements for channel(s).
Note on G35: Select linear, percent, or no scaling for measurement channel(s).
Note on H35: Enter value for slope of linear scaling or value for percent deviation.
Note on I35: Enter offset value for linear scaling.
Note on J35: Enter letter or symbol to display on instrument front panel as linear scaling units designator.
Note on K35: Enable or disable alarm 1 for channel(s) in this row.
Note on L35: Enter high value for limit range 1.
Note on M35: Enter low value for limit range 1.
Note on O35: Enter high value for limit range 2.
Note on P35: Enter low value for limit range 2.
Note on Q35: Enable or disable filtering of the channel(s) in this row by selecting "On" or "Off".
Note on R35: Enter number of measurements to average. Allowed values range from 1 to 100.
Note on S35: Select an integration time or enter a value in PLC units from 0.01 to 50 or 60 depending on power line frequency.
Note on T35: For AC measurements, enter low frequency bandwidth cutoff from 3 to 300 kHz.
Note on U34: Select from available options for this measurement function.
Note on A34: Configure groups of channels for a scan list.
Note on D34: Select measurement function and range for this group of channels.
Note on F34: Select scaling options for this measurement group.
Note on K34: Set alarm limits for this channel group.
Note on Q34: Select filtering options for this channel group.
Note on S34: Select A/D conversion options for this channel group.
Note on N35: Enable or disable alarm 2 for channel(s) in this row.
Note on D8: Enter the name of the comany that created this task.
Note on D16: Select the module installed in this slot.
Note on D17: Select the module installed in this slot.
Note on D18: Select the module installed in this slot.
Note on C35: Enter optional channel name for this channel group.
Note on D21: Select to enable or disable synchronizing measurements with power line zero crossings.
Note on D22: Select to enable or disable autozeroing of measurements.
Note on D23: Select number of display digits on instrument front panel, or disable the display by selecting 'None'.
Note on D27: Select to enable or disable limit reporting on digital outputs.
Note on D28: Select to enable or disable digital pulse output on limit failure.
Note on D29: Select logic level for limit failures on digital outputs.
Note on D30: Enter pulse duration when Pulse Output is On.
Note on D31: Select to enable or disable master limit latching on limit failure.
Note on A27: Setup how ExceLINX will configure alarm limit options for this instrument.
Note on D26: Select temperature scale that the instrument will use for reporting temperature measurements.
Note on D11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on K30: Select time units for Limits Duration.
Note on D24: Enable or disable the DCV input divider by selecting "On" or "Off".
Note on D25: Enable or disable open thermocouple detection by selecting "On" or "Off".
Note on D14: Enter the password to unlock the instrument (for 2701 only).
Note on A21: Setup how ExceLINX will configure the global options for this instrument.
Note on D20: Select to enable or disable the front panel key lockout
Note on D13: Enter the model of the instrument.

## Sheet1
Client: | Steel Tech
Project # : | G101074993
Model: | HeatmasterSS
Standard: | UL2523
Date: | 2013-03-13
Tech: | KS
|  |  | Boiler | Boiler | Load | Dump | Boiler | Flue | Wiring | PLC | ON/Off | Comb | Unit | Unit | Door | Ambient
|  |  | Out | In |  |  | Avg | Gas |  |  | Switch | Blower | Side | Top | Handle
| Delta T | Time | Chn 101 | Chn 102 | Chn 103 | Chn 104 | Chn 105 | Chn 106 | Chn 107 | Chn 108 | Chn 109 | Chn 110 | Chn 111 | Chn 112 | Chn 113 | Chn 114
| 1.16 | 7:30 | 71.7798 | 70.6198 | 72.2882 | 69.5011 | 70.2333 | 485.519 | 72.6097 | 71.4064 | 72.3941 | 76.5447 | 69.4635 | 74.3192 | 71.1826 | 68.227
| 1.4604 | 7:35 | 78.9686 | 77.5081 | 71.8531 | 69.5947 | 73.1475 | 558.7682 | 78.5422 | 74.0939 | 73.3898 | 78.8365 | 70.0772 | 78.9828 | 72.8132 | 67.6894
| 1.9547 | 7:40 | 87.8948 | 85.9402 | 73.4192 | 71.3892 | 76.9282 | 578.5207 | 86.3729 | 77.5668 | 75.117 | 87.2881 | 71.0398 | 85.0715 | 81.6294 | 67.3907
| 2.3858 | 7:45 | 98.0584 | 95.6726 | 78.2469 | 73.8792 | 81.653 | 310.351 | 93.4511 | 81.3277 | 76.985 | 81.7563 | 71.9946 | 90.5461 | 82.8835 | 67.0808
| 2.0757 | 7:50 | 108.2438 | 106.1682 | 82.5316 | 78.45 | 86.4366 | 216.7543 | 95.6141 | 84.0568 | 78.7209 | 79.7071 | 72.8558 | 93.0079 | 88.4265 | 67.3587
| 1.9943 | 7:55 | 116.5817 | 114.5874 | 86.8052 | 83.9937 | 91.4126 | 192.0666 | 94.9809 | 85.9624 | 79.9051 | 77.9734 | 73.1353 | 92.4047 | 92.844 | 67.6881
| 1.8074 | 8:00 | 123.7263 | 121.9189 | 93.6734 | 89.5819 | 96.8936 | 184.2289 | 93.9136 | 87.5942 | 80.7514 | 78.0533 | 73.1318 | 90.3649 | 96.7705 | 67.3912
| 1.8924 | 8:05 | 130.6583 | 128.7659 | 98.4301 | 94.9816 | 102.3513 | 216.9406 | 94.8313 | 89.3189 | 82.0151 | 78.5494 | 73.0372 | 88.9392 | 99.636 | 67.8414
| 2.3195 | 8:10 | 138.5072 | 136.1877 | 105.0198 | 100.4824 | 108.5745 | 211.1933 | 96.2779 | 91.1884 | 82.9518 | 79.5047 | 73.1562 | 88.082 | 101.4622 | 67.9933
| 2.6073 | 8:15 | 147.9998 | 145.3925 | 109.9795 | 106.9702 | 115.3367 | 228.8331 | 98.2567 | 93.6943 | 84.125 | 80.0679 | 73.3359 | 87.5252 | 102.3995 | 68.4279
| 2.8734 | 8:20 | 157.6992 | 154.8258 | 116.6449 | 113.441 | 122.1301 | 238.7468 | 101.1397 | 96.438 | 85.5147 | 81.3146 | 73.7017 | 87.3491 | 102.2496 | 68.9248
| 2.9302 | 8:25 | 167.3257 | 164.3954 | 123.3299 | 120.4834 | 129.8568 | 243.1828 | 104.8566 | 99.2651 | 86.9176 | 81.2887 | 73.8783 | 87.3126 | 102.374 | 68.8015
Limit Cut Out @ 180 |  | 8:30 | 176.8887 | 174.2353 | 130.6876 | 128.4071 | 137.8799 | 230.4971 | 109.5767 | 105.1084 | 89.7666 | 83.6263 | 73.6366 | 90.115 | 102.7053 | 68.489
| 12.9003 | 8:35 | 180.5812 | 167.6809 | 76.2045 | 152.8119 | 143.2698 | 193.7835 | 116.7514 | 107.701 | 95.3279 | 101.8402 | 73.2169 | 89.7711 | 102.6874 | 68.7334
| 11.5841 | 8:40 | 172.2261 | 160.642 | 76.0754 | 154.2662 | 146.5222 | 175.1196 | 124.4013 | 110.4987 | 93.2888 | 108.5398 | 72.4746 | 88.4043 | 101.5304 | 68.8028
| 11.082 | 8:45 | 166.5437 | 155.4617 | 75.6732 | 148.6784 | 148.8181 | 164.5009 | 130.0469 | 111.5943 | 93.5259 | 110.9466 | 72.7925 | 86.8797 | 102.7276 | 68.8025
| 10.6487 | 8:50 | 160.9113 | 150.2626 | 74.4951 | 143.5119 | 150.4518 | 155.8683 | 133.81 | 112.0901 | 93.8865 | 111.3586 | 73.5905 | 85.8352 | 101.6496 | 68.6704
| 11.4955 | 8:55 | 157.9249 | 146.4294 | 73.3117 | 139.898 | 151.1711 | 182.1019 | 134.6312 | 112.3571 | 93.4083 | 82.1493 | 74.3418 | 84.8215 | 99.5806 | 68.8392
85% voltage | 12.394 | 9:00 | 158.115 | 145.721 | 71.2005 | 139.0455 | 151.5146 | 215.9208 | 129.8114 | 112.2944 | 93.5159 | 81.8672 | 74.7959 | 83.9801 | 97.258 | 69.7908
| 9.78 | 9:05 | 163.113 | 153.3329 | 69.9693 | 150.9486 | 152.4184 | 226.7672 | 125.7817 | 112.6222 | 93.98 | 80.589 | 75.0804 | 83.9099 | 97.09 | 69.8395
| 10.462 | 9:10 | 169.1502 | 158.6882 | 69.1784 | 156.3678 | 154.0679 | 234.0712 | 123.656 | 113.5032 | 94.6176 | 80.9483 | 75.1039 | 84.1982 | 94.7922 | 69.8182
| 11.0079 | 9:15 | 175.1192 | 164.1113 | 68.621 | 161.8359 | 156.3766 | 240.6482 | 123.3657 | 114.5146 | 95.8843 | 80.2613 | 75.3435 | 85.4419 | 93.7444 | 69.6639
| 12.5423 | 9:20 | 180.1847 | 167.6425 | 68.1911 | 162.5277 | 158.9748 | 210.2372 | 124.7804 | 116.9518 | 100.4383 | 83.1432 | 75.5775 | 91.1663 | 92.658 | 70.1395
| 13.255 | 9:25 | 178.4195 | 165.1645 | 67.5181 | 159.6661 | 160.4689 | 177.554 | 130.0525 | 118.4551 | 99.3937 | 102.8154 | 75.4436 | 91.6013 | 93.3627 | 70.4022
110% voltage | 12.7025 | 9:30 | 175.1183 | 162.4158 | 66.6181 | 156.4839 | 162.0726 | 163.5567 | 134.8254 | 119.4922 | 99.1916 | 105.8971 | 75.5072 | 90.3385 | 94.0467 | 70.0861
| 15.9155 | 9:35 | 170.3863 | 154.4709 | 65.4222 | 142.9285 | 162.6484 | 154.5437 | 140.181 | 120.0206 | 100.0208 | 107.8022 | 75.836 | 89.6015 | 92.0954 | 70.3298
| 15.692 | 9:40 | 164.441 | 148.749 | 63.4291 | 137.449 | 162.3411 | 147.5826 | 142.8275 | 119.5618 | 100.5247 | 108.0941 | 76.2469 | 89.0743 | 92.757 | 69.937
| 15.1335 | 9:45 | 158.7196 | 143.5861 | 60.5445 | 132.1782 | 161.8889 | 160.1676 | 143.3995 | 119.5708 | 100.4287 | 89.9985 | 76.5359 | 88.8771 | 93.6516 | 69.9702
| 13.0821 | 9:50 | 155.8092 | 142.7271 | 58.3308 | 135.1196 | 160.6291 | 195.4889 | 139.4306 | 119.5586 | 99.2231 | 84.2225 | 76.6651 | 86.8342 | 94.0106 | 70.5918
| 13.4569 | 9:55 | 158.343 | 144.8861 | 56.6697 | 137.2673 | 159.2229 | 196.322 | 134.0658 | 118.5614 | 99.0629 | 101.3666 | 76.4919 | 85.9267 | 92.2846 | 70.2713
| 12.3127 | 10:00 | 156.0712 | 143.7586 | 55.4444 | 135.437 | 158.4111 | 158.5693 | 132.8962 | 117.7139 | 97.9384 | 124.218 | 76.1874 | 86.3826 | 91.2052 | 70.1663
| 12.0432 | 10:05 | 153.0175 | 140.9743 | 54.6835 | 132.5343 | 157.3067 | 183.5804 | 132.7063 | 117.2988 | 97.6941 | 96.5308 | 76.1457 | 86.5515 | 90.5459 | 70.3317
| 11.2943 | 10:10 | 156.0493 | 144.755 | 54.344 | 140.2984 | 155.9659 | 216.7034 | 128.8522 | 116.8715 | 97.3457 | 94.5324 | 76.1123 | 85.8225 | 89.5011 | 70.2721
| 11.6931 | 10:15 | 162.2543 | 150.5612 | 54.406 | 146.1287 | 156.0652 | 230.3582 | 125.665 | 116.9603 | 97.2669 | 94.3481 | 76.0317 | 86.4158 | 88.8457 | 70.1295
| 13.9887 | 10:20 | 168.7434 | 154.7547 | 54.5349 | 147.8013 | 157.3056 | 237.718 | 123.8202 | 117.3521 | 97.5039 | 95.3685 | 76.0482 | 87.8128 | 89.8681 | 70.2732
| 20.6501 | 10:25 | 172.8233 | 152.1732 | 54.1848 | 138.3096 | 158.4977 | 256.2042 | 123.4629 | 117.9085 | 97.9725 | 95.8211 | 76.2091 | 89.4101 | 86.9148 | 70.5069
| 22.3852 | 10:30 | 174.5431 | 152.158 | 53.7817 | 137.2931 | 159.8304 | 248.9498 | 124.4173 | 118.881 | 99.2114 | 95.4284 | 76.4181 | 91.0101 | 91.552 | 70.2862
| 22.8878 | 10:35 | 175.7383 | 152.8505 | 53.6029 | 135.8423 | 161.2221 | 233.409 | 125.7116 | 120.7066 | 100.2355 | 96.6004 | 76.7182 | 92.287 | 92.3349 | 70.5067
| 25.1293 | 10:40 | 172.0752 | 146.9459 | 52.5745 | 127.2112 | 161.3324 | 200.8498 | 127.8189 | 120.4065 | 101.938 | 98.0158 | 77.0043 | 94.2192 | 93.0513 | 71.0144
| 19.9988 | 10:45 | 167.839 | 147.8402 | 52.3911 | 135.2465 | 161.3914 | 215.3944 | 130.7335 | 120.7386 | 102.9574 | 98.65 | 77.3974 | 95.0098 | 94.6705 | 71.2366
| 18.0504 | 10:50 | 166.5721 | 148.5217 | 52.3224 | 136.8508 | 161.3157 | 212.8165 | 131.9754 | 121.6465 | 102.5955 | 95.6884 | 77.5116 | 93.5609 | 93.6081 | 71.1681
| 18.7081 | 10:55 | 170.0262 | 151.3181 | 52.2052 | 139.712 | 161.5101 | 239.1581 | 130.2259 | 121.5186 | 101.798 | 95.1082 | 77.3464 | 92.4477 | 92.7218 | 71.0895
| 21.6291 | 11:00 | 172.841 | 151.2119 | 51.8987 | 136.031 | 162.2492 | 241.8124 | 128.719 | 121.85 | 101.9519 | 95.7908 | 77.3069 | 92.5489 | 94.8282 | 70.7243
| 24.4169 | 11:05 | 172.7843 | 148.3675 | 51.4271 | 129.6086 | 162.5833 | 211.8349 | 128.7591 | 122.4247 | 103.1265 | 97.9039 | 77.3534 | 93.8328 | 95.134 | 71.1027
| 23.0282 | 11:10 | 169.2975 | 146.2693 | 51.4185 | 128.1926 | 162.6647 | 193.3753 | 130.6072 | 122.2749 | 104.0923 | 98.0575 | 77.4447 | 95.1028 | 96.7242 | 70.5039
| 21.2816 | 11:15 | 166.0947 | 144.8132 | 51.2424 | 128.5348 | 162.2639 | 192.1799 | 132.2576 | 123.2396 | 104.3298 | 95.9138 | 77.5277 | 95.0443 | 96.919 | 70.432
| 20.3563 | 11:20 | 165.2349 | 144.8786 | 51.2218 | 129.7769 | 161.8182 | 238.3063 | 132.0965 | 122.7021 | 103.8456 | 96.9737 | 77.7247 | 94.5516 | 97.4186 | 71.6008
| 20.4977 | 11:25 | 166.2041 | 145.7064 | 51.1644 | 130.9034 | 161.5205 | 229.0198 | 130.5958 | 122.7704 | 103.6817 | 95.6513 | 77.7984 | 93.9956 | 97.3496 | 71.2737
| 20.7722 | 11:30 | 167.8882 | 147.116 | 51.1395 | 132.0915 | 161.3804 | 228.9966 | 129.2835 | 122.8248 | 103.473 | 96.1622 | 77.6742 | 93.3621 | 96.523 | 71.0424
| 21.0648 | 11:35 | 169.1885 | 148.1237 | 51.1482 | 133.0166 | 161.5134 | 229.9992 | 128.5785 | 122.891 | 103.3108 | 95.7779 | 77.27 | 92.9305 | 95.3914 | 70.4418
| 21.4351 | 11:40 | 170.96 | 149.5248 | 51.1789 | 134.2378 | 161.8157 | 233.5895 | 128.1382 | 122.9828 | 103.3625 | 95.5275 | 77.2778 | 92.9601 | 95.97 | 70.7633
Fan Failure | 20.4926 | 11:45 | 170.454 | 149.9615 | 51.313 | 134.4692 | 162.1197 | 195.1412 | 129.4785 | 122.4068 | 103.9387 | 118.6886 | 76.9786 | 93.1135 | 93.5801 | 70.1134
| 19.2344 | 11:50 | 165.0658 | 145.8314 | 51.5126 | 130.3864 | 161.9168 | 175.8334 | 132.6687 | 122.4297 | 104.1957 | 125.4853 | 76.8597 | 93.4012 | 93.8456 | 70.0947
| 18.2602 | 11:55 | 159.7341 | 141.474 | 51.6215 | 126.4439 | 161.4438 | 165.6724 | 135.2112 | 122.1833 | 104.5024 | 127.7308 | 77.1633 | 93.718 | 94.7666 | 70.3559
| 16.9717 | 12:00 | 154.1108 | 137.1391 | 51.7537 | 122.2856 | 160.4045 | 158.1043 | 136.7422 | 121.5931 | 104.5966 | 127.3632 | 77.2971 | 93.6276 | 93.5855 | 70.8163
| 16.1699 | 12:05 | 148.9422 | 132.7723 | 51.8432 | 118.6568 | 158.8844 | 151.7257 | 136.9957 | 120.9213 | 104.511 | 127.5885 | 77.5294 | 93.6432 | 92.9678 | 71.0138
| 15.13 | 12:10 | 143.8307 | 128.7007 | 51.9898 | 114.7281 | 156.5801 | 146.1135 | 136.2948 | 120.0828 | 104.3486 | 127.3939 | 77.6529 | 93.45 | 92.4377 | 71.3709
| 14.2426 | 12:15 | 139.1588 | 124.9162 | 52.1877 | 111.5059 | 153.9576 | 141.1282 | 135.0019 | 119.1196 | 103.9918 | 126.4107 | 77.6618 | 93.2287 | 92.5682 | 71.2612
unit restarted | 14.4432 | 12:20 | 136.6387 | 122.1955 | 52.3514 | 109.3368 | 150.77 | 186.959 | 130.6922 | 118.8188 | 102.3174 | 96.3259 | 77.7029 | 92.0247 | 92.7276 | 72.3056
| 15.0199 | 12:25 | 138.4637 | 123.4438 | 52.4528 | 110.7136 | 147.3567 | 331.292 | 124.6133 | 117.5436 | 101.8116 | 97.8729 | 77.6358 | 91.4425 | 93.094 | 72.2613
| 16.0848 | 12:30 | 142.2496 | 126.1648 | 52.3532 | 113.1381 | 145.6588 | 227.3318 | 120.5258 | 116.7713 | 101.0967 | 95.0044 | 77.4605 | 91.308 | 91.1563 | 72.2994
| 16.8297 | 12:35 | 146.7583 | 129.9286 | 52.3597 | 116.5341 | 144.9149 | 228.8574 | 118.0186 | 116.2538 | 100.4363 | 95.3591 | 77.2714 | 90.947 | 90.9941 | 72.2948
| 15.6391 | 12:40 | 152.7733 | 137.1342 | 52.4748 | 126.5107 | 145.2506 | 234.721 | 117.0162 | 115.965 | 99.8531 | 94.9737 | 77.0544 | 90.5319 | 91.1825 | 72.1619
| 16.3531 | 12:45 | 158.5122 | 142.1591 | 52.678 | 131.045 | 146.4522 | 234.439 | 117.9825 | 116.2617 | 99.9227 | 96.4219 | 76.9202 | 90.7383 | 92.4738 | 72.035
| 5.8011 | 12:50 | 150.9876 | 145.1865 | 52.8158 | 132.2968 | 148.3325 | 239.1991 | 119.3867 | 116.637 | 99.6829 | 95.7212 | 76.8593 | 90.433 | 93.6886 | 71.8656
| 6.5135 | 12:55 | 156.5668 | 150.0533 | 52.9148 | 138.5435 | 150.7207 | 237.6952 | 121.5546 | 117.6863 | 100.0668 | 97.0083 | 76.8686 | 90.6593 | 95.2183 | 71.8519
| 7.3934 | 13:00 | 158.3921 | 150.9987 | 53.0256 | 137.3164 | 153.0938 | 238.2698 | 123.6725 | 118.6638 | 100.2951 | 96.0966 | 77.0395 | 90.8404 | 94.9468 | 71.388
| 7.8198 | 13:05 | 157.7066 | 149.8868 | 52.9362 | 132.3343 | 155.3717 | 235.9512 | 125.7119 | 119.7412 | 100.4708 | 95.4825 | 77.1388 | 90.4141 | 95.612 | 71.4073
| 8.0527 | 13:10 | 156.7642 | 148.7116 | 52.8869 | 130.1351 | 157.0195 | 211.5163 | 128.1256 | 120.8038 | 101.9714 | 99.3961 | 77.4012 | 91.9628 | 99.9384 | 71.7383
| 7.7104 | 13:15 | 154.3418 | 146.6314 | 52.8736 | 128.119 | 158.0914 | 192.3288 | 131.1025 | 120.8405 | 103.2799 | 100.1571 | 77.8567 | 93.3861 | 101.6568 | 71.6725
| 7.344 | 13:20 | 154.3048 | 146.9608 | 52.7383 | 132.9353 | 158.5745 | 184.1244 | 133.5918 | 121.3113 | 104.1304 | 100.8098 | 78.3746 | 93.9712 | 102.4126 | 71.8656
| 6.562 | 13:25 | 153.0159 | 146.4539 | 52.8473 | 132.4736 | 159.0012 | 198.4421 | 134.6374 | 121.5091 | 104.6568 | 102.1917 | 78.7664 | 93.9184 | 108.6626 | 72.4089
| 6.3854 | 13:30 | 153.3372 | 146.9518 | 52.7733 | 132.7804 | 159.3333 | 209.1571 | 133.9804 | 122.2669 | 104.1702 | 97.496 | 79.0415 | 93.28 | 102.8319 | 72.707
| 6.4026 | 13:35 | 157.2229 | 150.8203 | 52.7102 | 139.0191 | 159.8601 | 211.1962 | 132.4501 | 122.4684 | 103.7735 | 97.1789 | 78.921 | 92.4342 | 100.7075 | 72.2948
| 6.2916 | 13:40 | 158.813 | 152.5215 | 52.735 | 140.6267 | 160.8713 | 211.3176 | 131.2143 | 122.63 | 103.4345 | 96.6571 | 78.6912 | 91.8749 | 100.5024 | 72.2293
| 6.6343 | 13:45 | 160.3247 | 153.6904 | 52.6908 | 141.5983 | 161.669 | 211.3596 | 130.5053 | 122.8181 | 103.2275 | 96.5893 | 78.4015 | 91.4227 | 100.8198 | 71.847
| 6.1988 | 13:50 | 161.3585 | 155.1597 | 52.7121 | 142.851 | 162.4981 | 212.0987 | 129.9654 | 122.8825 | 102.9791 | 96.2145 | 78.1364 | 91.0141 | 100.5959 | 71.8441
| 6.339 | 13:55 | 162.0181 | 155.6791 | 52.719 | 143.3442 | 163.4079 | 194.0594 | 130.0267 | 123.1569 | 103.6731 | 98.8127 | 78.0545 | 91.179 | 100.2139 | 71.9759
| 5.9847 | 14:00 | 160.9643 | 154.9797 | 52.8596 | 142.3845 | 163.7835 | 180.2144 | 132.1618 | 122.9083 | 104.7517 | 100.5705 | 78.2523 | 92.0523 | 102.2836 | 71.6366
| 6.002 | 14:05 | 160.0992 | 154.0972 | 52.9177 | 141.6138 | 164.1981 | 177.1965 | 134.724 | 123.451 | 105.4387 | 99.7968 | 78.5768 | 92.4012 | 103.8775 | 72.1087
| 5.8976 | 14:10 | 158.9263 | 153.0286 | 53.2219 | 140.5731 | 164.4021 | 173.2406 | 136.2759 | 123.8282 | 106.0502 | 101.2909 | 78.9482 | 92.4983 | 104.4926 | 72.3146
| 5.5985 | 14:15 | 157.373 | 151.7745 | 53.5756 | 139.4281 | 164.3557 | 176.3875 | 137.409 | 124.0273 | 106.4636 | 101.4883 | 79.2407 | 92.7007 | 105.8246 | 72.1722
| 5.6203 | 14:20 | 156.7703 | 151.1501 | 53.775 | 138.9741 | 164.3237 | 174.5755 | 137.7023 | 124.9593 | 106.6667 | 100.4831 | 79.6024 | 92.5621 | 106.0268 | 73.1625
| 6.0174 | 14:25 | 157.4138 | 151.3964 | 53.8603 | 139.1372 | 164.2965 | 247.3711 | 138.0999 | 123.4309 | 107.1875 | 104.9437 | 79.8289 | 92.5019 | 140.0861 | 72.0988
| 5.9538 | 14:30 | 154.8035 | 148.8498 | 53.9479 | 132.8811 | 162.7238 | 189.2861 | 137.0797 | 124.1782 | 106.1585 | 118.5216 | 79.572 | 91.7315 | 104.7542 | 73.0605
| 5.7923 | 14:35 | 149.9839 | 144.1916 | 53.5119 | 128.5616 | 161.7113 | 163.1536 | 138.0384 | 123.586 | 106.1215 | 128.1972 | 79.3771 | 91.6243 | 102.5123 | 72.4862
| 0 | 14:40
| 0 | 14:45
| 0 | 14:50
| 0 | 14:55
| 0 | 15:00
| 0 | 15:05
| 0 | 15:10
| 0 | 15:15
| 0 | 15:20
| 0 | 15:25
| 0 | 15:30
| 0 | 15:35
| 0 | 15:40
| 0 | 15:45
| 0 | 15:50
| 0 | 15:55
| 0 | 16:00
| 0 | 16:05
| 0 | 16:10
| 0 | 16:15
| 0 | 16:20
| 0 | 16:25
| 0 | 16:30
| 0 | 16:35
| 0 | 16:40
| 0 | 16:45
| 0 | 16:50
| 0 | 16:55
| 0 | 17:00
| 0 | 17:05
| 0 | 17:10
| 0 | 17:15
| 0 | 17:20
| 0 | 17:25
| 0 | 17:30
| 0 | 17:35
| 0 | 17:40
| 0 | 17:45
| 0 | 17:50
| 0 | 17:55
| 0 | 18:00