## DMM Scan
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} |  |  |  | A Greater Measure of Confidence
{ED8FAA31-47AE-11d4-9DBA-00A0C9050977} | DMM Scan: Scan DMM channels
2
Task: Scan DMM Channels
Task | Name | DMM Scan
Description
| Created By | midlab
| Company | Intertek
| Date Created | 2012-03-06
| Date Modified | 2013-03-15
| Status/Cmds | Task stopped successfully
Configuration | Worksheet | DMM Config
Trigger | Model | Scan
| Source | Timer
| Delay | Auto | sec
| Reading Count | INF
| Timer | 300 | sec
| Monitor | None
| Monitor Limits | None
Data Location | Worksheet | Sheet1
| Starting Col | D
| Starting Row | 10
| Organize By | Rows
| Autoincrement | Use one table
| Auto Wrap | On
Log File
| Format | Delimited text (comma)
Data Display | Add Channel Tags | No
| Add Channels | Yes
| Add Units | No
| Scroll Display | No
| Limits | None
| Timestamp | None
| Update Interval | 100 | msec
Task Data
Note on B5: Enter a brief name for this task.
Note on B6: Enter any additional comments for this task.
Note on B9: Date that you first created this task.
Note on B10: Date that you last modified this task.
Note on B12: Select a Configure Scanning DMM Channels worksheet to use as the channel scan list for this task.
Note on B26: Enter name of data file where ExceLINX should save data. Blank disables data logging.
Note on B20: Select the worksheet where ExceLINX will store the task data.
Note on B21: Enter the starting column for the task data.
Note on B22: Enter the starting row for the task data.
Note on B23: Select whether to organize scans of task data by rows or columns.
Note on B24: Select if ExceLINX should overwrite, extend, or create more task data tables for new scans.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on A12: Select the channel scan list ExceLINX will use to configure the instrument for this task.
Note on A20: Select where and how ExceLINX will save data for this task.
Note on A36: Default location to store task data. Change the location using the "Data Location" form.
Note on B31: Select "Yes" if ExceLINX should automatically display cells with the most recent data.
Note on B1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task scans a list of instrument channels and saves the measurement values in a worksheet and log file.
Note on B13: Select type of scan trigger model.
Note on B14: Select type of trigger event.
Note on B15: Select auto or manual delay before acquiring next measurement.
Note on A13: Setup how ExceLINX will trigger and pace scans for this task.
Note on B16: Select number of triggers to acquire: samples for Step mode or scans for Scan mode.
Note on B17: Enter trigger interval timer if using Trigger Source = Timer.
Note on B27: Select log file data format.
Note on B7: Enter the name of the person who created this task.
Note on B33: Select timestamp format for measurements.
Note on B28: Select "Yes" if ExceLINX should label data with user-defined channel tags.
Note on A28: Select how ExceLINX should format data for this task.
Note on D15: Select the units of time for Delay value.
Note on D17: Select the units of time for Timer value.
Note on B32: Enter how ExceLINX should display results of limits testing.
Note on B18: Select channel to assign as a monitor channel for analog triggering.
Note on B8: Enter the name of the comany that created this task.
Note on B29: Select "Yes" if ExceLINX should label data with channel numbers.
Note on B30: Select "Yes" if ExceLINX should label data with measurement units.
Note on B19: Select limits to test on monitor channel to start a scan.
Note on B11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on B34: Select time interval for reading Task Data from instrument.
Note on D34: Select the units of time for Update Interval.
Note on B25: Select whether ExceLINX automatically overwrites a previously acquired data table with new data.

## DMM Config
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} | DMM Config: Configure DMM Channels | [14 empty] | A Greater Measure of Confidence
{ED8FAA30-47AE-11d4-9DBA-00A0C9050977}
4
Task: Configure Scanning DMM Channels
Task |  |  | Name |  | DMM Config
Description
|  |  | Created By |  | midlab
|  |  | Company |  | Intertek
|  |  | Date Created |  | 2012-03-06
|  |  | Date Modified |  | 2013-03-15
|  |  | Status/Cmds |  | Task stopped successfully
Instrument |  |  | Device |  | MODEL_2750_at_GPIBO_16
|  |  | Model |  | M2750
Password
|  |  | Slot 1 Module |  | M7708*
|  |  | Slot 2 Module |  | M7708*
|  |  | Slot 3 Module |  | M7708*
|  |  | Slot 4 Module |  | Empty*
|  |  | Slot 5 Module |  | Empty*
|  |  | Front Panel Lockout |  | On
Setup |  |  | Line Sync |  | Off
|  |  | Autozero |  | On
|  |  | Display Digits |  | 6½
|  |  | DCV Input Divider |  | Off
|  |  | Open TC Detection |  | Off
|  |  | Temp Scale |  | °F
Limits |  |  | Digital Outputs |  | Off
|  |  | Pulse Output |  | Off
|  |  | Polarity |  | High
|  |  | Duration |  | 0.02 |  |  |  |  | sec
|  |  | Master Latch |  | Off
Channel Scan List
Channel |  |  | Measurement |  | Scaling |  |  |  |  | Alarm Limits | [5 empty] | Rep Filter |  | Sampling |  | Options
Enb | List | Tag | Function | Range | Rel | Math | m/ref | b | U | En1 | Hi1 | Lo1 | En2 | Hi2 | Lo2 | Enb | Count | Rate | AC BW | Opt 1 | Opt 2 | Opt 3 | Opt 4
On | 101-114 |  | TEMP | K | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | INT
Off | 201-213 |  | TEMP | J | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | INT
Off | 301-340 |  | TEMP | J | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | INT
Note on A35: Enable or disable the channel(s) in this row by selecting "On" or "Off". Select value for this cell in a blank row to auto fill-in defaults for other cells in the row.
Note on D1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A33: Enter the configuration and scan sequence for channels the instrument will acquire.
Note on A4: This task configures channels on a scanning DMM and also serves as a channel scan list for a DMM Scan task.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on D5: Enter a brief name for this task.
Note on D6: Enter any additional comments for this task.
Note on D9: Date that you first created this task.
Note on D10: Date that you last modified this task.
Note on A12: Select the hardware instrument for this task.
Note on D12: Select an instrument device for this task.
Note on D7: Enter the name of the person who created this task.
Note on D15: Select the module installed in this slot.
Note on D19: Select the module installed in this slot.
Note on B35: Enter the channel(s) to configure as a single channel (101), consecutive range (101-109), or list of single channels and ranges (101-109,201,215). Use channel 1 for front panel inputs.
Note on D35: Select measurement function for channel(s).
Note on E35: Select input range, transducer type, or input mode for selected measurement function.
Note on F35: Enter a relative value to subtract from all measurements for channel(s).
Note on G35: Select linear, percent, or no scaling for measurement channel(s).
Note on H35: Enter value for slope of linear scaling or value for percent deviation.
Note on I35: Enter offset value for linear scaling.
Note on J35: Enter letter or symbol to display on instrument front panel as linear scaling units designator.
Note on K35: Enable or disable alarm 1 for channel(s) in this row.
Note on L35: Enter high value for limit range 1.
Note on M35: Enter low value for limit range 1.
Note on O35: Enter high value for limit range 2.
Note on P35: Enter low value for limit range 2.
Note on Q35: Enable or disable filtering of the channel(s) in this row by selecting "On" or "Off".
Note on R35: Enter number of measurements to average. Allowed values range from 1 to 100.
Note on S35: Select an integration time or enter a value in PLC units from 0.01 to 50 or 60 depending on power line frequency.
Note on T35: For AC measurements, enter low frequency bandwidth cutoff from 3 to 300 kHz.
Note on U34: Select from available options for this measurement function.
Note on A34: Configure groups of channels for a scan list.
Note on D34: Select measurement function and range for this group of channels.
Note on F34: Select scaling options for this measurement group.
Note on K34: Set alarm limits for this channel group.
Note on Q34: Select filtering options for this channel group.
Note on S34: Select A/D conversion options for this channel group.
Note on N35: Enable or disable alarm 2 for channel(s) in this row.
Note on D8: Enter the name of the comany that created this task.
Note on D16: Select the module installed in this slot.
Note on D17: Select the module installed in this slot.
Note on D18: Select the module installed in this slot.
Note on C35: Enter optional channel name for this channel group.
Note on D21: Select to enable or disable synchronizing measurements with power line zero crossings.
Note on D22: Select to enable or disable autozeroing of measurements.
Note on D23: Select number of display digits on instrument front panel, or disable the display by selecting 'None'.
Note on D27: Select to enable or disable limit reporting on digital outputs.
Note on D28: Select to enable or disable digital pulse output on limit failure.
Note on D29: Select logic level for limit failures on digital outputs.
Note on D30: Enter pulse duration when Pulse Output is On.
Note on D31: Select to enable or disable master limit latching on limit failure.
Note on A27: Setup how ExceLINX will configure alarm limit options for this instrument.
Note on D26: Select temperature scale that the instrument will use for reporting temperature measurements.
Note on D11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on K30: Select time units for Limits Duration.
Note on D24: Enable or disable the DCV input divider by selecting "On" or "Off".
Note on D25: Enable or disable open thermocouple detection by selecting "On" or "Off".
Note on D14: Enter the password to unlock the instrument (for 2701 only).
Note on A21: Setup how ExceLINX will configure the global options for this instrument.
Note on D20: Select to enable or disable the front panel key lockout
Note on D13: Enter the model of the instrument.

## Sheet1
Client: | Steel Tech
Project # : | G101074993
Model: | HeatmasterSS
Standard: | UL2523
Date: | 2013-03-14
Tech: | KS
|  |  | Boiler | Boiler | Load | Dump | Boiler | Flue | Wiring | PLC | ON/Off | Comb | Unit | Unit | Door | Ambient
|  |  | Out | In |  |  | Avg | Gas |  |  | Switch | Blower | Side | Top | Handle
| Delta T | Time | Chn 101 | Chn 102 | Chn 103 | Chn 104 | Chn 105 | Chn 106 | Chn 107 | Chn 108 | Chn 109 | Chn 110 | Chn 111 | Chn 112 | Chn 113 | Chn 114
| 4.7925 | 7:30 | 104.3074 | 99.5148 | 75.7674 | 94.7474 | 111.5085 | 101.5405 | 99.4207 | 87.363 | 82.6971 | 79.6164 | 72.3919 | 77.9301 | 80.1088 | 67.8718
| 5.3316 | 7:35 | 104.2877 | 98.9561 | 74.5673 | 94.0461 | 110.663 | 473.2561 | 97.7444 | 88.3605 | 82.6502 | 79.2003 | 72.3233 | 78.1649 | 76.0374 | 68.9532
| 6.829 | 7:40 | 106.9304 | 100.1014 | 71.477 | 94.56 | 110.2461 | 208.0968 | 95.7453 | 90.0656 | 82.7913 | 81.3592 | 72.5287 | 80.5395 | 76.5618 | 69.1877
| 7.3502 | 7:45 | 109.9834 | 102.6332 | 69.4312 | 96.058 | 110.2557 | 193.6276 | 95.7348 | 91.2435 | 83.5994 | 82.8016 | 72.7333 | 82.6956 | 78.1721 | 68.7373
| 8.6252 | 7:50 | 113.8302 | 105.205 | 68.0169 | 98.0706 | 110.7486 | 178.476 | 95.6176 | 92.3461 | 84.1367 | 82.0509 | 72.6402 | 83.3376 | 79.3995 | 67.8666
| 9.7751 | 7:55 | 117.9045 | 108.1294 | 66.5928 | 100.3463 | 111.4279 | 197.6939 | 95.5441 | 93.1317 | 84.5372 | 81.9969 | 72.3731 | 83.3534 | 81.5476 | 67.333
| 11.0918 | 8:00 | 123.5826 | 112.4908 | 63.7837 | 103.3304 | 113.0091 | 207.2273 | 95.681 | 94.0038 | 84.9443 | 82.3419 | 72.1325 | 83.2237 | 82.4215 | 66.848
| 12.1202 | 8:05 | 129.4395 | 117.3192 | 61.044 | 109.2698 | 115.2007 | 226.7874 | 96.552 | 95.1587 | 85.641 | 86.2928 | 72.0005 | 83.27 | 97.563 | 66.9222
| 12.0299 | 8:10 | 134.1095 | 122.0796 | 59.4128 | 113.1061 | 117.6833 | 219.0283 | 98.2843 | 96.313 | 86.3151 | 84.7228 | 72.054 | 83.5258 | 83.8741 | 67.0732
| 13.1696 | 8:15 | 140.1066 | 126.9369 | 57.8392 | 117.0433 | 120.7103 | 225.2328 | 100.2192 | 97.7701 | 87.0236 | 85.8609 | 72.2026 | 83.8633 | 84.116 | 66.9041
| 14.3019 | 8:20 | 145.5746 | 131.2726 | 56.2025 | 120.7354 | 123.8557 | 232.2418 | 102.2894 | 99.3229 | 87.7761 | 86.7706 | 72.3653 | 84.1528 | 84.2904 | 66.9433
| 15.3639 | 8:25 | 150.6902 | 135.3263 | 54.6324 | 124.0199 | 127.4012 | 238.6436 | 104.5925 | 101.1133 | 88.6404 | 88.0303 | 72.5674 | 84.5935 | 85.506 | 67.6823
| 19.8744 | 8:30 | 152.6586 | 132.7842 | 52.8672 | 116.4827 | 129.7788 | 244.2422 | 108.1881 | 103.2055 | 90.0994 | 90.8471 | 73.1025 | 85.7693 | 87.3021 | 68.2115
| 20.3193 | 8:35 | 154.8428 | 134.5235 | 51.5666 | 117.8638 | 131.8251 | 247.8034 | 110.8308 | 105.0499 | 91.1153 | 90.4287 | 73.6247 | 86.4066 | 87.2458 | 68.1645
| 20.2974 | 8:40 | 157.523 | 137.2257 | 50.9104 | 119.7624 | 134.4507 | 253.1045 | 112.679 | 106.6584 | 92.1671 | 91.258 | 74.2814 | 87.2126 | 88.7243 | 69.29
| 20.6381 | 8:45 | 159.9964 | 139.3583 | 50.8218 | 121.5854 | 136.7092 | 256.4732 | 114.4377 | 108.2608 | 93.1857 | 92.0234 | 74.8065 | 87.522 | 89.6956 | 69.1851
| 18.3014 | 8:50 | 162.7996 | 144.4982 | 50.8395 | 132.4802 | 139.7097 | 257.4435 | 116.3799 | 109.7377 | 93.9971 | 92.6811 | 74.9594 | 87.6164 | 89.525 | 69.2233
| 17.5332 | 8:55 | 167.0082 | 149.4751 | 51.1233 | 136.6455 | 142.4659 | 305.8155 | 118.4096 | 111.0736 | 94.92 | 96.5259 | 75.0861 | 88.0656 | 99.2124 | 69.005
| 17.907 | 9:00 | 170.7434 | 152.8364 | 51.3917 | 140.2235 | 146.359 | 262.7678 | 120.6361 | 112.8233 | 95.8137 | 94.0965 | 75.3256 | 88.807 | 92.0962 | 69.2135
| 18.0494 | 9:05 | 173.823 | 155.7736 | 51.8236 | 142.8507 | 148.5776 | 247.8936 | 123.5006 | 115.0036 | 97.0398 | 96.0156 | 75.6494 | 89.6841 | 93.2235 | 69.0604
| 17.6724 | 9:10 | 174.5978 | 156.9254 | 52.2199 | 143.4266 | 151.1997 | 214.354 | 126.9977 | 116.2201 | 99.3131 | 100.9234 | 76.0085 | 91.0542 | 94.2874 | 69.4334
| 17.5744 | 9:15 | 173.7283 | 156.1538 | 52.507 | 142.9489 | 152.9881 | 200.7519 | 130.6692 | 117.7249 | 100.8866 | 102.3454 | 76.5609 | 91.1569 | 95.3773 | 69.9034
| 17.3483 | 9:20 | 172.4188 | 155.0706 | 52.5517 | 141.9543 | 154.9072 | 193.6393 | 133.555 | 118.7122 | 101.9224 | 102.7678 | 76.8362 | 90.5133 | 95.0727 | 69.692
| 16.9053 | 9:25 | 170.9283 | 154.0229 | 52.511 | 140.8713 | 156.2713 | 188.6234 | 135.5013 | 119.5162 | 102.6081 | 102.9925 | 76.8021 | 89.9072 | 95.1058 | 69.6225
| 16.8525 | 9:30 | 169.6492 | 152.7967 | 52.4429 | 139.307 | 157.3909 | 186.4667 | 136.6083 | 120.4284 | 103.2218 | 102.4499 | 76.8202 | 89.589 | 94.8458 | 69.435
| 16.9149 | 9:35 | 169.3446 | 152.4297 | 52.5198 | 139.4255 | 158.0549 | 195.5677 | 137.1843 | 122.0186 | 103.419 | 100.6251 | 76.8502 | 89.3667 | 94.2619 | 69.4537
| 17.3557 | 9:40 | 170.5479 | 153.1921 | 52.6593 | 140.0577 | 158.9823 | 216.7446 | 136.3802 | 121.6661 | 103.1682 | 98.7916 | 76.8443 | 89.3931 | 93.6128 | 69.5867
| 18.0813 | 9:45 | 173.3322 | 155.2508 | 52.8583 | 142.2089 | 160.0869 | 224.1563 | 135.5109 | 122.0993 | 103.1424 | 98.5322 | 76.8887 | 89.642 | 92.5133 | 69.7813
| 18.171 | 9:50 | 175.2533 | 157.0823 | 53.0104 | 143.878 | 161.028 | 207.9568 | 135.5531 | 122.8477 | 104.0741 | 101.3113 | 77.1439 | 90.2497 | 93.2557 | 70.0835
| 17.5711 | 9:55 | 174.5193 | 156.9482 | 53.0347 | 143.6089 | 161.6049 | 193.0429 | 136.505 | 122.3519 | 104.806 | 103.6563 | 77.1145 | 89.9232 | 91.7739 | 69.9782
| 17.2062 | 10:00 | 173.1781 | 155.9719 | 52.8415 | 142.5445 | 162.1369 | 184.2294 | 137.6982 | 122.811 | 105.1717 | 103.7529 | 76.964 | 89.4776 | 91.3576 | 69.4989
| 17.1473 | 10:05 | 171.8663 | 154.719 | 52.7111 | 141.4444 | 162.5393 | 180.4019 | 138.4895 | 123.1426 | 105.5768 | 103.5644 | 77.0339 | 89.467 | 92.3689 | 69.9223
| 22.645 | 10:10 | 168.5993 | 145.9543 | 52.2883 | 124.8869 | 162.5837 | 177.5896 | 138.773 | 123.3195 | 105.9947 | 102.8474 | 77.1881 | 89.5258 | 92.703 | 69.9307
| 21.8407 | 10:15 | 164.5369 | 142.6962 | 52.0146 | 122.1294 | 162.0542 | 189.6865 | 138.351 | 124.1637 | 105.7408 | 99.7442 | 77.2668 | 89.6404 | 92.2704 | 69.9424
| 22.7888 | 10:20 | 163.2646 | 140.4757 | 51.6739 | 117.2011 | 161.6102 | 236.8356 | 136.3125 | 123.6739 | 105.3623 | 100.2107 | 77.2166 | 90.0458 | 93.6925 | 70.222
| 21.9153 | 10:25 | 163.007 | 141.0916 | 51.3904 | 121.8615 | 161.2216 | 229.0711 | 134.6724 | 123.6027 | 105.0513 | 97.4676 | 77.2837 | 90.687 | 92.4821 | 70.2784
| 21.4242 | 10:30 | 163.1118 | 141.6876 | 51.151 | 122.1785 | 160.5747 | 230.8078 | 133.0734 | 123.6397 | 104.9 | 96.9283 | 77.3937 | 91.515 | 92.5804 | 70.3818
| 22.2572 | 10:35 | 164.2802 | 142.0229 | 50.9866 | 122.3421 | 160.2422 | 234.201 | 131.8331 | 123.6336 | 104.7988 | 96.6115 | 77.5537 | 92.072 | 92.5026 | 70.9198
| 22.3113 | 10:40 | 164.8262 | 142.5149 | 50.7426 | 122.3955 | 160.0026 | 237.4392 | 130.9818 | 123.6779 | 104.7941 | 96.86 | 77.7467 | 92.3727 | 91.7674 | 71.1855
| 22.6519 | 10:45 | 165.8457 | 143.1937 | 50.5905 | 122.8582 | 159.9987 | 241.4672 | 130.3521 | 123.6746 | 104.5438 | 96.709 | 77.6615 | 91.9084 | 91.4505 | 70.9688
| 23.2223 | 10:50 | 167.3894 | 144.1671 | 50.32 | 123.7609 | 160.0232 | 245.3407 | 129.9646 | 123.7101 | 104.217 | 96.6189 | 77.3465 | 91.3187 | 90.2498 | 70.8321
| 23.5178 | 10:55 | 168.7421 | 145.2242 | 50.2097 | 124.4116 | 160.231 | 250.259 | 129.3918 | 123.5082 | 103.765 | 96.0639 | 77.0216 | 90.7266 | 90.1814 | 70.4128
| 23.8557 | 11:00 | 170.3479 | 146.4921 | 50.1819 | 126.7873 | 160.4612 | 257.9128 | 128.8137 | 123.4864 | 103.3599 | 96.0279 | 76.6695 | 90.462 | 89.9903 | 70.1595
| 22.3188 | 11:05 | 172.3577 | 150.0388 | 50.3331 | 131.7701 | 160.7388 | 258.6509 | 130.0994 | 123.9166 | 103.5172 | 97.5109 | 76.2906 | 90.4797 | 89.7908 | 70.061
| 24.5991 | 11:10 | 172.4504 | 147.8513 | 50.0481 | 125.7562 | 161.0893 | 234.9518 | 131.4242 | 124.5403 | 104.1606 | 98.7904 | 76.3135 | 91.2041 | 90.6316 | 69.9984
| 23.5274 | 11:15 | 169.8747 | 146.3473 | 50.0406 | 124.1122 | 161.186 | 205.8086 | 133.1598 | 123.304 | 105.4186 | 101.9048 | 76.6179 | 91.9667 | 91.2805 | 70.2743
| 23.0798 | 11:20 | 166.4342 | 143.3544 | 50.0834 | 121.4402 | 161.0976 | 194.3147 | 135.0519 | 123.4295 | 105.9264 | 101.8227 | 76.8916 | 91.8527 | 92.9462 | 70.1838
| 22.8936 | 11:25 | 164.2697 | 141.3761 | 50.1158 | 120.0374 | 160.7439 | 230.4188 | 135.0743 | 123.7855 | 105.0878 | 96.7074 | 77.1801 | 91.4693 | 93.771 | 70.3775
| 23.5896 | 11:30 | 165.5758 | 141.9862 | 50.1658 | 120.5745 | 160.4406 | 245.7288 | 133.0922 | 123.6615 | 104.4104 | 95.7074 | 77.3083 | 91.6427 | 93.7822 | 70.6501
| 23.4444 | 11:35 | 166.1575 | 142.7131 | 50.1485 | 121.2317 | 160.228 | 263.6224 | 132.5689 | 123.9281 | 104.7687 | 97.2026 | 77.4782 | 92.6572 | 95.4468 | 70.774
| 23.8115 | 11:40 | 167.6201 | 143.8086 | 50.2568 | 122.2989 | 160.1911 | 254.7303 | 131.9421 | 124.1016 | 104.785 | 97.0901 | 77.7855 | 93.3672 | 95.6793 | 71.2667
| 25.7689 | 11:45 | 168.0742 | 142.3053 | 49.8017 | 116.5266 | 160.2084 | 255.0015 | 131.3372 | 124.2404 | 104.6832 | 97.1422 | 77.9471 | 93.1111 | 95.1779 | 71.3197
| 26.2405 | 11:50 | 168.1996 | 141.9591 | 49.62 | 116.1458 | 160.2846 | 257.8061 | 130.6238 | 124.2947 | 104.4065 | 96.8344 | 77.792 | 92.4451 | 95.0299 | 71.0694
| 25.9909 | 11:55 | 168.4208 | 142.4299 | 49.2996 | 116.7949 | 160.342 | 260.4842 | 130.1312 | 124.2782 | 104.0946 | 96.6716 | 77.5019 | 91.9671 | 94.2618 | 70.7936
| 26.8902 | 12:00 | 169.7391 | 142.849 | 49.0062 | 117.105 | 160.5198 | 261.8205 | 129.907 | 124.2674 | 103.874 | 96.6376 | 77.1103 | 91.7119 | 94.6268 | 70.4678
| 26.7665 | 12:05 | 170.0893 | 143.3228 | 48.8417 | 117.1812 | 160.516 | 262.0312 | 129.7253 | 124.1926 | 103.8817 | 96.125 | 77.0998 | 91.9827 | 96.0662 | 70.7796
| 26.8909 | 12:10 | 170.2826 | 143.3917 | 48.8507 | 116.454 | 160.5879 | 254.9331 | 129.9801 | 124.4711 | 104.1752 | 96.7842 | 77.1867 | 92.6024 | 96.6234 | 70.8002
| 26.5156 | 12:15 | 169.4258 | 142.9102 | 48.926 | 116.2924 | 160.6248 | 235.796 | 130.7031 | 124.8059 | 104.8988 | 98.0463 | 77.3327 | 93.3136 | 97.5068 | 71.0062
| 25.3226 | 12:20 | 166.1788 | 140.8562 | 48.9768 | 114.1573 | 160.5015 | 230.149 | 132.5158 | 124.7816 | 105.9506 | 100.4867 | 77.5551 | 93.9578 | 97.4847 | 71.012
| 25.0683 | 12:25 | 164.1717 | 139.1034 | 49.0555 | 113.9062 | 160.2151 | 233.3741 | 133.4503 | 124.3465 | 105.615 | 98.0204 | 77.7773 | 93.8971 | 97.667 | 71.0769
| 24.4965 | 12:30 | 162.2605 | 137.764 | 49.1302 | 113.115 | 159.7993 | 253.9017 | 134.0992 | 124.2857 | 105.8473 | 98.8272 | 77.9619 | 94.2955 | 97.7404 | 71.1095
| 22.423 | 12:35 | 162.1548 | 139.7318 | 49.3232 | 119.7558 | 159.2259 | 241.0615 | 133.7774 | 124.1734 | 105.7432 | 98.1617 | 78.1003 | 94.5575 | 97.9852 | 71.2609
| 18.9116 | 12:40 | 162.289 | 143.3775 | 49.6649 | 128.0083 | 158.9464 | 262.7471 | 133.2972 | 124.1251 | 105.8862 | 99.929 | 78.2791 | 94.8635 | 97.833 | 71.4313
| 18.2908 | 12:45 | 163.8617 | 145.5709 | 49.9903 | 130.1766 | 158.9803 | 228.2288 | 132.9753 | 124.0762 | 105.8561 | 98.5704 | 78.5421 | 94.7065 | 96.3785 | 72.0534
| 18.2603 | 12:50 | 164.9435 | 146.6832 | 50.1399 | 131.1202 | 159.044 | 224.6222 | 132.6739 | 124.0706 | 105.7724 | 98.2222 | 78.5285 | 93.9473 | 95.5293 | 71.4279
| 18.5656 | 12:55 | 165.9545 | 147.3889 | 50.308 | 131.8593 | 159.2206 | 223.2861 | 132.283 | 124.0391 | 105.4169 | 97.9392 | 78.2493 | 92.7628 | 94.4742 | 71.3787
| 18.6607 | 13:00 | 166.8406 | 148.1799 | 50.0138 | 132.262 | 159.4435 | 224.322 | 131.9335 | 124.0316 | 105.1083 | 97.9161 | 77.9438 | 92.3249 | 93.6034 | 71.3208
| 18.7543 | 13:05 | 167.5468 | 148.7925 | 50.2785 | 133.0606 | 159.7399 | 226.0291 | 131.6804 | 124.0873 | 104.9867 | 98.0119 | 77.8285 | 92.247 | 93.8714 | 70.8185
| 18.7983 | 13:10 | 168.6181 | 149.8198 | 50.3759 | 133.9463 | 160.1863 | 228.2118 | 131.5585 | 124.2085 | 105.1093 | 97.7302 | 77.7716 | 92.469 | 93.9735 | 70.9173
| 18.8941 | 13:15 | 169.6211 | 150.727 | 51.0297 | 135.0129 | 160.6573 | 232.9997 | 131.2657 | 124.36 | 105.1489 | 98.1699 | 77.9076 | 92.7192 | 95.0318 | 71.5476
| 19.4847 | 13:20 | 171.4244 | 151.9397 | 51.6466 | 136.2754 | 161.2143 | 235.6209 | 131.4927 | 124.5779 | 105.3487 | 98.9198 | 78.2061 | 93.0016 | 96.577 | 72.0395
| 19.8413 | 13:25 | 173.0493 | 153.208 | 51.9399 | 137.3365 | 161.6342 | 233.2221 | 131.965 | 124.8623 | 105.4281 | 99.9723 | 78.4284 | 92.7433 | 97.2817 | 71.8885
| 25.9219 | 13:30 | 170.783 | 144.8611 | 51.4779 | 118.2963 | 161.977 | 209.7734 | 133.0631 | 124.4554 | 106.3262 | 102.0241 | 78.3827 | 92.5386 | 98.129 | 71.6413
| 24.928 | 13:35 | 165.9779 | 141.0499 | 50.9795 | 115.2484 | 161.8635 | 194.1945 | 134.6685 | 123.9521 | 106.7976 | 102.915 | 78.2234 | 91.7188 | 97.4651 | 71.3101
| 24.4773 | 13:40 | 162.2975 | 137.8202 | 50.0312 | 112.3312 | 161.4164 | 221.8349 | 134.861 | 124.3668 | 105.5527 | 98.0281 | 77.7898 | 90.6371 | 96.5898 | 70.8783
| 22.3984 | 13:45 | 161.9673 | 139.5689 | 49.4497 | 119.144 | 160.7586 | 270.133 | 133.0471 | 123.9647 | 104.7982 | 87.2939 | 77.5713 | 90.8717 | 97.0183 | 71.2087
| 21.043 | 13:50 | 162.9667 | 141.9237 | 49.6402 | 125.5557 | 160.1057 | 245.913 | 131.4674 | 123.4535 | 104.8178 | 86.8333 | 77.6832 | 91.9867 | 98.0433 | 71.2283
| 19.9542 | 13:55 | 166.5771 | 146.623 | 49.9248 | 130.4165 | 160.1744 | 250.3413 | 129.6174 | 123.4125 | 104.4481 | 85.9184 | 77.8976 | 92.6399 | 98.7861 | 71.5353
| 20.3564 | 14:00 | 170.0874 | 149.731 | 50.1448 | 133.3264 | 160.8415 | 254.5758 | 128.4293 | 123.3666 | 104.3561 | 86.3643 | 78.0999 | 93.197 | 99.4147 | 71.8757
Powerfail | -5.8927 | 14:05 | 122.9114 | 128.8041 | 50.3959 | 50.6349 | 163.805 | 201.5279 | 131.276 | 123.8125 | 104.6677 | 111.4719 | 78.5247 | 96.3405 | 100.9809 | 71.7379
started | -9.0302 | 14:10 | 110.7331 | 119.7632 | 50.8035 | 50.8643 | 167.3656 | 183.8518 | 136.6184 | 124.6696 | 102.3092 | 115.4275 | 78.0043 | 96.8783 | 102.5938 | 71.643
| -8.5959 | 14:15 | 105.1309 | 113.7268 | 51.0409 | 51.0856 | 170.3081 | 172.9754 | 141.819 | 124.9976 | 101.2954 | 116.3163 | 77.4431 | 94.8734 | 103.0036 | 71.8065
| -8.7844 | 14:20 | 100.0343 | 108.8187 | 51.3533 | 51.3453 | 173.4306 | 164.4307 | 146.7346 | 126.4229 | 108.9597 | 116.9735 | 78.6796 | 98.2173 | 103.2556 | 71.6404
| -7.8107 | 14:25 | 96.4172 | 104.2279 | 51.531 | 51.5763 | 174.6896 | 156.9591 | 151.1104 | 128.4874 | 106.8199 | 116.8162 | 79.5341 | 101.0531 | 103.3707 | 71.4276
| -7.4457 | 14:30 | 92.7882 | 100.2339 | 51.7176 | 51.7461 | 175.7364 | 149.8527 | 155.4605 | 128.4782 | 104.282 | 117.4953 | 79.1935 | 99.6998 | 102.8164 | 71.5145
| -6.9773 | 14:35 | 89.791 | 96.7683 | 51.9407 | 51.9183 | 176.9697 | 144.2502 | 158.5477 | 128.2232 | 103.7088 | 117.7128 | 79.4379 | 99.2156 | 102.1058 | 71.8014
| -6.7509 | 14:40 | 86.7428 | 93.4936 | 52.0834 | 52.0622 | 177.5864 | 139.2289 | 160.7488 | 128.6037 | 104.0142 | 118.2774 | 79.4063 | 101.1578 | 101.5323 | 72.2085
| -6.3674 | 14:45 | 84.1709 | 90.5382 | 52.0535 | 52.0674 | 178.6411 | 134.6242 | 162.9249 | 129.6041 | 106.2616 | 118.6128 | 79.3802 | 103.0335 | 99.7953 | 72.1529
| -6.094 | 14:50 | 81.7985 | 87.8925 | 51.9093 | 51.9324 | 179.7929 | 131.672 | 164.6664 | 130.2139 | 106.5316 | 119.6106 | 79.1374 | 102.9312 | 97.0987 | 71.5875
| -5.4558 | 14:55 | 79.8324 | 85.2882 | 51.7337 | 51.7425 | 181.0561 | 128.3587 | 166.1604 | 130.2173 | 106.711 | 120.7641 | 78.9727 | 102.209 | 94.9731 | 71.3421
| -5.7309 | 15:00 | 77.4525 | 83.1834 | 51.6338 | 51.6056 | 183.093 | 124.4164 | 167.3978 | 130.414 | 104.7867 | 120.2104 | 78.9243 | 101.0593 | 93.8354 | 70.9494
| -5.6111 | 15:05 | 75.5107 | 81.1218 | 51.4828 | 51.46 | 184.4318 | 121.5733 | 168.0436 | 129.9626 | 103.8733 | 118.1569 | 79.0475 | 100.4416 | 94.2286 | 70.973
| -5.4239 | 15:10 | 73.8798 | 79.3036 | 51.4877 | 51.3983 | 185.9631 | 120.4704 | 168.3875 | 129.927 | 103.8859 | 119.3694 | 79.445 | 100.7195 | 95.0936 | 71.0529
| -4.9819 | 15:15 | 72.6001 | 77.582 | 51.5474 | 51.519 | 187.4452 | 117.8723 | 168.7038 | 130.8752 | 112.399 | 122.2971 | 79.8881 | 101.849 | 94.5138 | 70.9451
| -4.9442 | 15:20 | 71.1646 | 76.1088 | 51.7309 | 51.7156 | 188.4173 | 117.2757 | 168.8813 | 132.9917 | 108.7563 | 116.6658 | 79.5 | 107.2273 | 93.8007 | 71.2513
| -4.6508 | 15:25 | 70.1036 | 74.7543 | 51.8949 | 51.9091 | 190.0362 | 116.9985 | 169.5688 | 134.775 | 111.0515 | 121.2327 | 79.1944 | 108.3221 | 94.2598 | 71.5001
| -4.4561 | 15:30 | 69.0718 | 73.5279 | 52.0183 | 52.0101 | 190.9643 | 114.5976 | 170.0603 | 133.707 | 107.6946 | 117.6249 | 79.2224 | 107.2008 | 93.849 | 71.5816
| -4.1819 | 15:35 | 68.2121 | 72.394 | 52.0226 | 52.0254 | 191.4188 | 113.4899 | 170.2204 | 133.0164 | 106.3534 | 117.5986 | 79.5184 | 107.8119 | 93.9158 | 72.1734
| -3.8945 | 15:40 | 67.4431 | 71.3376 | 52.0387 | 52.0237 | 192.9902 | 112.8192 | 170.3356 | 132.3672 | 105.804 | 117.9558 | 79.5344 | 106.0618 | 93.474 | 72.1523
| -3.5744 | 15:45 | 66.7467 | 70.3212 | 51.7506 | 51.7818 | 193.9589 | 111.6233 | 170.2981 | 131.7272 | 105.1091 | 117.1925 | 78.9533 | 103.8253 | 92.7962 | 71.9084
| -3.3333 | 15:50 | 66.2032 | 69.5366 | 52.176 | 52.0001 | 194.4852 | 110.8994 | 170.239 | 131.2398 | 104.3946 | 117.6664 | 79.1329 | 103.6964 | 91.5949 | 71.7467
| -3.0745 | 15:55 | 66.0521 | 69.1267 | 53.8629 | 52.9146 | 195.353 | 110.1295 | 170.3263 | 130.982 | 104.3121 | 118.2572 | 79.4898 | 104.6748 | 90.357 | 71.7813
| -2.848 | 16:00 | 65.822 | 68.6699 | 55.4367 | 53.7207 | 196.2942 | 109.5846 | 170.3601 | 130.9311 | 104.6679 | 116.3493 | 79.8366 | 106.212 | 90.0571 | 71.7241
| -2.7821 | 16:05 | 65.4295 | 68.2116 | 56.9209 | 54.3565 | 196.5603 | 109.3506 | 170.4091 | 130.8765 | 105.0135 | 116.0378 | 80.0394 | 107.3354 | 89.488 | 71.6625
| -2.7224 | 16:10 | 65.1454 | 67.8678 | 58.2953 | 54.9059 | 197.0074 | 108.4563 | 170.5174 | 130.8419 | 105.0654 | 116.2571 | 80.2077 | 108.2326 | 89.2965 | 71.5443
| -2.6006 | 16:15 | 64.915 | 67.5156 | 59.5264 | 55.4356 | 197.5382 | 107.501 | 170.6151 | 130.8068 | 105.7484 | 116.4134 | 80.4091 | 109.3643 | 90.2866 | 71.669
| -2.5766 | 16:20 | 64.6587 | 67.2354 | 60.592 | 55.925 | 197.9398 | 107.4022 | 170.6988 | 130.857 | 106.2092 | 116.965 | 80.607 | 110.978 | 91.1082 | 72.1964
| -2.5391 | 16:25 | 64.4711 | 67.0102 | 61.5748 | 56.4081 | 198.3399 | 107.0183 | 170.7735 | 131.0034 | 106.5564 | 116.5914 | 80.8986 | 112.3584 | 91.4394 | 72.5514
| -2.414 | 16:30 | 64.3955 | 66.8095 | 62.4785 | 56.8958 | 198.7629 | 106.3325 | 170.9248 | 131.2592 | 107.0657 | 117.295 | 81.1439 | 113.8075 | 91.8179 | 72.7534
| -2.3899 | 16:35 | 64.261 | 66.6509 | 63.2709 | 57.3516 | 199.6033 | 106.4241 | 171.0708 | 131.6667 | 107.8388 | 117.78 | 81.6028 | 114.8573 | 92.623 | 74.0209
| -2.3019 | 16:40 | 64.2291 | 66.531 | 64.0273 | 57.8351 | 199.9779 | 106.6687 | 171.2196 | 132.1876 | 108.4998 | 117.6236 | 81.9349 | 115.2009 | 92.7763 | 73.0314
| -2.1936 | 16:45 | 64.2197 | 66.4133 | 64.6641 | 58.3093 | 200.3964 | 107.1258 | 171.3806 | 132.5829 | 108.9914 | 117.3502 | 82.0259 | 115.1772 | 92.0111 | 72.927
| -2.1599 | 16:50 | 64.1663 | 66.3262 | 65.2685 | 58.7292 | 200.4203 | 106.5089 | 171.4945 | 132.8804 | 109.1491 | 117.0967 | 81.9317 | 114.9245 | 90.8113 | 72.7438
| -2.0834 | 16:55 | 64.1492 | 66.2327 | 65.8086 | 59.1356 | 200.7448 | 107.2215 | 171.7211 | 133.12 | 109.3012 | 117.07 | 81.7352 | 114.6011 | 90.2334 | 72.6873
| -2.0112 | 17:00 | 64.1452 | 66.1564 | 66.2539 | 59.5489 | 200.889 | 105.6996 | 171.7767 | 133.358 | 109.4903 | 117.6939 | 81.5205 | 113.9954 | 89.6928 | 72.4731
| -1.9425 | 17:05 | 64.1829 | 66.1254 | 66.6461 | 59.9085 | 200.9424 | 106.8565 | 171.9317 | 133.6154 | 109.6204 | 118.1144 | 81.3038 | 112.9965 | 89.1168 | 72.3159
| -1.8851 | 17:10 | 64.1897 | 66.0748 | 67.0246 | 60.2192 | 201.0649 | 106.8805 | 172.131 | 133.7998 | 109.7654 | 116.8946 | 81.197 | 111.6227 | 89.6061 | 72.356
| -1.8061 | 17:15 | 64.1982 | 66.0043 | 67.3032 | 60.5484 | 201.1667 | 106.5759 | 171.5621 | 134.1141 | 110.3026 | 117.5033 | 81.3032 | 110.8653 | 90.2796 | 72.6617
| -1.7413 | 17:20 | 64.2203 | 65.9616 | 67.61 | 60.8781 | 201.388 | 106.1363 | 170.923 | 134.4357 | 110.8606 | 116.6252 | 81.4491 | 109.7882 | 91.085 | 73.111
| -1.643 | 17:25 | 64.2977 | 65.9408 | 67.8804 | 61.2141 | 201.4728 | 105.8587 | 170.6987 | 134.8296 | 111.2977 | 118.4292 | 81.6442 | 107.9056 | 91.5295 | 73.1318
| -1.5948 | 17:30 | 64.3222 | 65.917 | 68.1218 | 61.563 | 201.6636 | 105.9167 | 170.5243 | 134.9864 | 111.628 | 118.2279 | 81.89 | 105.9478 | 92.2481 | 74.065
| -1.507 | 17:35 | 64.3961 | 65.9032 | 68.3551 | 61.8718 | 201.8025 | 105.5361 | 170.4926 | 135.1238 | 111.8621 | 116.9952 | 82.2838 | 103.9176 | 92.6003 | 73.7999
| -1.4688 | 17:40 | 64.4793 | 65.9481 | 68.6123 | 62.225 | 201.8934 | 106.2188 | 170.4871 | 135.3485 | 111.9755 | 117.8882 | 82.3992 | 102.1194 | 92.2878 | 73.4135
| -1.3904 | 17:45 | 64.5493 | 65.9397 | 68.7662 | 62.4724 | 201.8418 | 105.6973 | 170.4767 | 135.4058 | 111.7544 | 119.2326 | 82.2265 | 100.5803 | 91.3808 | 73.2091
| -1.3318 | 17:50 | 64.6195 | 65.9513 | 68.9385 | 62.7806 | 201.8638 | 107.4271 | 170.4409 | 135.2766 | 111.5539 | 118.9098 | 82.0026 | 99.4573 | 90.7398 | 72.9945
| -1.2765 | 17:55 | 64.6775 | 65.954 | 69.073 | 63.0207 | 201.7877 | 105.931 | 170.4044 | 135.1828 | 111.3567 | 119.016 | 81.78 | 98.4024 | 89.4173 | 72.6752
| -1.2177 | 18:00 | 64.7251 | 65.9428 | 69.136 | 63.2216 | 201.691 | 106.5727 | 170.3659 | 135.016 | 111.1119 | 118.5613 | 81.4683 | 97.4712 | 89.0925 | 72.6601
|  | 18:05 | 64.8018 | 65.9627 | 69.2304 | 63.4446 | 201.6733 | 106.4726 | 170.2727 | 135.041 | 111.2328 | 118.2222 | 81.4622 | 97.248 | 89.9976 | 72.7078
|  | 18:10 | 64.8346 | 65.9519 | 69.3011 | 63.6524 | 201.614 | 105.8139 | 170.143 | 135.1746 | 111.4677 | 117.4137 | 81.4429 | 97.4985 | 90.5397 | 72.8852
|  | 18:15 | 64.888 | 65.9647 | 69.3648 | 63.8619 | 201.5447 | 106.197 | 170.0188 | 135.2699 | 111.7206 | 118.3249 | 81.5467 | 97.881 | 91.1288 | 72.9907
|  | 18:20 | 64.9378 | 65.9489 | 69.4496 | 64.0921 | 201.4675 | 105.8205 | 169.9039 | 135.3115 | 111.9432 | 118.3163 | 81.594 | 98.3129 | 91.2403 | 72.9437
|  | 18:25 | 64.9945 | 65.9719 | 69.5186 | 64.3248 | 201.4039 | 105.533 | 169.8479 | 135.4156 | 112.1247 | 116.9692 | 81.8007 | 98.6673 | 91.5165 | 73.4516
|  | 18:30 | 65.0804 | 66.0073 | 69.5991 | 64.5195 | 201.2554 | 106.2445 | 169.7315 | 135.5128 | 112.3224 | 117.6545 | 82.1088 | 98.5494 | 91.7606 | 73.9629
|  | 18:35 | 65.1593 | 66.0318 | 69.6637 | 64.7393 | 201.1735 | 106.2336 | 169.6963 | 135.6279 | 112.4337 | 116.0588 | 82.2416 | 97.9304 | 91.9678 | 73.3455
|  | 18:40 | 65.243 | 66.0719 | 69.7352 | 64.9327 | 201.0804 | 106.6225 | 169.6709 | 135.5923 | 112.2131 | 118.5916 | 82.1148 | 97.3357 | 91.0149 | 73.0384
|  | 18:45 | 65.3141 | 66.088 | 69.7809 | 65.1067 | 200.9787 | 106.3509 | 169.5684 | 135.4839 | 112.0334 | 116.5874 | 81.847 | 96.6632 | 90.0657 | 72.6772
|  | 18:50 | 65.3722 | 66.1333 | 69.8032 | 65.2492 | 200.858 | 106.7639 | 169.5293 | 135.367 | 111.8509 | 117.1508 | 81.613 | 95.9207 | 89.6464 | 72.3674
|  | 18:55 | 65.4291 | 66.1409 | 69.7925 | 65.3884 | 200.7309 | 106.7493 | 169.4261 | 135.2374 | 111.5214 | 117.4631 | 81.2503 | 95.284 | 88.7048 | 72.2115
|  | 19:00 | 65.4716 | 66.158 | 69.7877 | 65.4944 | 200.5858 | 106.4236 | 169.3498 | 135.1295 | 111.2818 | 118.6234 | 80.9927 | 94.6506 | 87.9784 | 72.0357
|  | 19:05 | 65.5124 | 66.1599 | 69.7609 | 65.5861 | 200.404 | 107.2403 | 169.1454 | 134.8477 | 111.0421 | 118.0126 | 80.7173 | 94.0329 | 87.9638 | 71.7091
|  | 19:10 | 65.5575 | 66.1709 | 69.7006 | 65.6619 | 200.2672 | 106.0746 | 168.9557 | 134.6638 | 110.8351 | 117.1125 | 80.4683 | 93.7209 | 87.8134 | 71.3562
|  | 19:15 | 65.6059 | 66.2031 | 69.6548 | 65.7326 | 200.1096 | 105.7427 | 168.8059 | 134.5874 | 110.9761 | 115.5293 | 80.4477 | 94.0761 | 88.5103 | 71.786
|  | 19:20 | 65.6332 | 66.1992 | 69.63 | 65.8369 | 199.9379 | 105.4907 | 168.5875 | 134.5814 | 111.1825 | 115.5699 | 80.4727 | 94.7558 | 89.2765 | 71.8021
|  | 19:25 | 65.6439 | 66.1949 | 69.5821 | 65.9351 | 199.7229 | 105.3972 | 168.4514 | 134.5874 | 111.3602 | 117.1197 | 80.5718 | 95.4563 | 89.6139 | 72.1693
|  | 19:30 | 65.6818 | 66.1961 | 69.5895 | 66.071 | 199.5389 | 105.0832 | 168.4138 | 134.6605 | 111.5411 | 114.8864 | 80.7204 | 96.1764 | 89.7888 | 72.1787
|  | 19:35 | 65.7055 | 66.2228 | 69.5858 | 66.176 | 199.2697 | 105.0993 | 168.3388 | 134.702 | 111.6824 | 116.3872 | 80.9165 | 96.6932 | 90.0318 | 72.6228
|  | 19:40 | 65.7903 | 66.2581 | 69.6355 | 66.2997 | 199.0367 | 104.3591 | 168.3003 | 134.7108 | 111.8281 | 116.5253 | 81.2815 | 96.6804 | 90.6415 | 72.8005
|  | 19:45 | 65.8555 | 66.2902 | 69.6503 | 66.4096 | 198.7968 | 105.47 | 168.2343 | 134.7424 | 111.8651 | 115.8105 | 81.3429 | 96.3334 | 90.3511 | 72.4504
|  | 19:50 | 65.915 | 66.3249 | 69.6778 | 66.5369 | 198.5027 | 105.9071 | 168.2628 | 134.6428 | 111.5359 | 115.9228 | 81.182 | 95.6678 | 89.2872 | 72.2147
|  | 19:55 | 65.9366 | 66.3335 | 69.6276 | 66.5993 | 198.1781 | 104.8842 | 168.2688 | 134.4607 | 111.2025 | 116.6584 | 80.9342 | 95.1109 | 88.6424 | 71.8156
|  | 20:00 | 65.9765 | 66.3561 | 69.63 | 66.6675 | 197.9467 | 105.0459 | 168.1445 | 134.2256 | 110.8884 | 115.3362 | 80.6721 | 94.5324 | 88.3447 | 71.7839